## Slide 1: Saving Time Under Pressure Effectiveness of Standardizing Pediatric Resuscitation Carts
Erich Maul, DO
Philip Westgate, PhD
Barbara Latham, RN, MSN

## Slide 2: Disclosures
I have no financial relationships to disclose or conflicts of interest to resolve
I will not be discussing any unapproved or off-label, experimental or investigational use

## Slide 3: Find something quickly in this mess
Notes: You can’t very efficiently.
Sad to say, this is what some of the resuscitation carts at KCH looked like 5 years ago!
When you are under stress in a resuscitation situation, it becomes more difficult to remember your name, much less where the 10 mL syringes are.

## Slide 4: Time is Critical
This is obvious during a resuscitation situation
Standardization of resuscitation carts is logical
Little data to evaluate the scope of the problem
  Agarwal, et al., Pediatrics, 2005; 116:e326-33
    Broselow® cart easier to use and preferred by participants
    Cost prohibitive?
    Standard, highly visual prepackaged layout
  Rousek & Hallbeck. Human Factors 2011; 53:626-36
    Standardized medication compartment only
    Successful, low-cost, generalizable
Notes: Cost prohibitive to redesign entire hospital system with Broselow carts
~$4000/cart=~$68,000 outlay for just the carts

## Slide 5: Objective
To document increased efficiency in finding resuscitation equipment in a standardized resuscitation cart
  Find item in <15 seconds
  Monitor times for degrading skill
Notes: Efficiency meant find item in <15 seconds and follow as a time series looking for degradation of skills

## Slide 6: Methods
Setting
  Hospital within a Hospital in Lexington, KY
  Carts located across entire healthcare system
    Within Children’s Hospital
    Ancillary areas
Notes: Ancillary areas were places like MRI, dialysis, Center for Advanced Surgery, etc.

## Slide 7: Methods
Cart Design
  Used Lean methodology to find the waste in the carts and design prototype
  5 S
    Sort-what was necessary equipment?
    Set-design drawers and time standards
    Shine-inspect final design
    Standardize-create plan for Materials and Users
    Sustain-continued education and cart checks
Notes: Very visual
Better outside labeling
Standard design of each drawer and maintained between carts

## Slide 8: Remember the Drawer of Disaster?
Before
After

## Slide 9
Notes: Insert front view of cart here and some drawer pictures

## Slide 10
Left side

## Slide 11: Methods
System-wide Education
  Live at Staff Meetings, Web-based Training
  Prototype available for staff to explore
  Picture atlas sent to each staff member and Materials
  Informed of time trials and standards
    Find item in less than 15 seconds

## Slide 12: Methods
Studied multiple cohorts from Jan 2011-Jan 2012
  IRB approval was obtained
  5 cohorts of 10 Registered Nurses
    First cohort paired
  Each RN asked to find 3 random items selected from a card array
Statistics
  Descriptive stats for each cohort
  Paired t-test for paired cohort; two-sample t-test with Satterthwaite approximations for remaining groups
  Spline model to look for skill degradation
Notes: Testing done in situ on the KCH wards
-first cohort wound up being paired due to how the RN’s on the floor were scheduled
-randomly selected a card from an array and was timed to find the item
Satterthwaite approximation takes into account the unequal variances across the days
Originally submitted with ANOVA analysis and regression-Dr Westgate applied more appropriate methods; this did nothing to change the clinical or statistical significance of the results

## Slide 13: Results
Days from Launch of New Code Cart |  |  |  |  |  |  | 
 | -1 | 1 | 12 | 49 | 152 | 351 | 351*
Mean (sec) | 30.34 | 16.41 | 13.40 | 9.92 | 12.13 | 19.78 | 16.32
Median (sec) | 27.37 | 15.98 | 11.28 | 9.35 | 13.93 | 13.85 | 12.90
SD (sec) | 17.26 | 10.37 | 9.34 | 4.98 | 5.03 | 13.33 | 8.06
95% CI L | 17.99 | 8.98 | 6.71 | 6.36 | 8.53 | 10.25 | 10.12
U | 42.68 | 23.83 | 20.08 | 13.48 | 15.73 | 29.31 | 22.51
p value | ref | 0.028 | 0.016 | 0.005 | 0.009 | 0.14 | 0.038
*outlier removed
Notes: On D-1, trialed RN’s on old carts to set baseline
D-day=changed out all 17 code carts
On D+1, only 40% stated they had any “training” on new code cart; would have been interesting to track this for the entire duration to find the “tipping point”
D+351 Outlier=140 sec to find item
46% reduction in time from D-1 to D+1
67% reduction by D+49

## Slide 14: Spline Model
<15 seconds
  ~6 days
>15 seconds
  ~287 days
Notes: Created a stable platform, but was education intensive

## Slide 15: Limitations
Is this really true performance in a resuscitation situation?
Did not track proportion of staff who admitted to receiving “training”
Did not test clinical areas with carts outside of the Children’s Hospital
Notes: Impact of PRRT: at KCH, the incidence of a Code Blue OUTSIDE the PICU or ED is 3/100,000 bed-days. How this cart performs in a real situation is rare-PICU would be ideal place to trial this since they use the carts much more frequently than anyone else.
Tipping point: would have been interesting to have tracked this

## Slide 16: Conclusions
Standardization will reduce time to find items
Can be effective and, at the same time, save costs
Created a stable platform, but requires maintenance
  Skill degrades over time, before annual refresher training cycles
  Refresher training every 6 months
Notes:   Doubtful this is superior to length-based color coded systems